## Center Addresses
California Department of Housing and Community Development
Office of Migrant Services (OMS)
OMS Migrant Farmworker Centers
2026 Operating Calendar & Contact Information
# | Migrant Center | Address | City/Town | County | Housing Units | Opening Dates | Closing Dates
1 | Artesi II | 777 W Mathews Road | French Camp | San Joaquin | 95 | 2026-05-01 | 2026-10-28
2 | Artesi III | 333 W Mathews Road | French Camp | San Joaquin | 95 | 2026-05-01 | 2026-10-28
3 | Arturo Ochoa | 903 Arizona Circle | Gilroy | Santa Clara | 100 | 2026-04-15 | 2026-10-12
4 | Arvin (RD) | 8701 Sunset Boulevard | Bakersfield | Kern | 88 | 2026-06-01 | 2026-11-27
5 | Atwater | 9200 Westside Boulevard | Atwater | Merced | 59 | 2026-04-21 | 2026-10-15
6 | Buena Vista | 113 Tierra Alta | Watsonville | Santa Cruz | 103 | 2026-04-01 | 2026-09-28
7 | Davis (RD) | 31150 County Road 105 | Dixon | Solano | 62 | 2026-04-08 | 2026-10-01
8 | Dixon | 7290 Radio Station Road | Dixon | Solano | 82 | 2026-04-22 | 2026-10-16
9 | Empire | 5132 South Avenue | Empire | Stanislaus | 92 | 2026-05-04 | 2026-10-30
10 | Felix Torres | 925 North Plainsburg Road | Planada | Merced | 62 | 2026-05-27 | 2026-11-20
11 | Harney Lane (RD) | 14320 E. Harney Lane | Lodi | San Joaquin | 94 | 2026-05-01 | 2026-10-28
12 | Hollister | 3235 Southside Road | Hollister | San Benito | 67 | 2026-05-18 | 2026-11-13
13 | King City (RD) | 440 Jayne Street | King City | Monterey | 79 | 2026-05-05 | 2026-10-31
14 | Madison (RD) | 29289 State Highway 16 | Madison | Yolo | 88 | 2026-04-15 | 2026-10-08
15 | Merced (RD) | 2753 N Santa Fe Avenue | Merced | Merced | 49 | 2026-05-26 | 2026-11-20
16 | Newell | 501 Dunsmuir Street | Newell | Modoc | 53 | 2026-03-18 | 2026-09-13
17 | Parlier | 8800 S. Academy Avenue | Parlier | Fresno | 130 | 2026-03-31 | 2026-09-25
18 | Patterson (RD) | 506 Mayette Street | Patterson | Stanislaus | 40 | 2026-04-27 | 2026-10-23
19 | Pomona Ranch (RD) | 11777 Woodward Way | Madera | Madera | 50 | 2026-07-01 | 2026-12-22
20 | Rafael Silva | 18926 West Henry Miller Road | Los Banos | Merced | 48 | 2026-05-19 | 2026-11-12
21 | Shafter (RD) | 17213 Central Valley Highway | Shafter | Kern | 88 | 2026-05-18 | 2026-11-13
22 | Westley (RD) | 696 Livingston Circle | Westley | Stanislaus | 83 | 2026-05-18 | 2026-11-13
23 | Williams | 400 Theatre Road | Williams | Colusa | 100 | 2026-05-11 | 2026-11-06
24 | Yuba City | 479 Bernard Drive | Yuba City | Sutter | 78 | 2026-05-01 | 2026-10-28
1885
The Office of Migrant Services (OMS) at the Department of Housing and Community Development (HCD) is dedicated to providing safe, affordable, and seasonal housing for migrant farmworkers and their families. The program operates a network of 24 seasonal housing centers across California, offering essential services and support during the agricultural work season. The migrant center operations are overseen by migrant center operators which provide the day-to-day property and asset management. By addressing the unique housing needs of migrant workers, the OMS program helps improve living conditions and supports agricultural communities.

## Utility Info
CENTER NAME | OPERATED BY | PROPERTY (CENTER) ADDRESS | NUMBER OF HOUSING UNITS | # OF ELECTRICAL METERS | ELECTRICAL MAINTENANCE | WATER - IRRIGATION | WATER - POTABLE | WATER SYSTEM MAINTENANCE | SEWER/WASTE WATER SYSTEM OPERATOR | SEWER SYSTEM MAINTENANCE | # OF GAS METERS | MASTER METERED (Y/N?) | GAS MAINTENANCE
1. ARTESI II | Housing Authority of the County of San Joaquin (or Villa Real, inc.) | 777 West Mathews Road French Camp, CA 95231 | 96 | 98 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | City of Stockton | City of Stockton | City of Stockton | County of San Joaquin | County of San Joaquin | 2 | N | PG&E maintains the two meters (Day care and Laundry facilities). Housing units operate electric appliances only
2. ARTESI III | Housing Authority of the County of San Joaquin (or Villa Real, inc.) | 333 West Mathews Road French Camp, CA 95231 | 96 | 98 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | City of Stockton | City of Stockton | City of Stockton | County of San Joaquin | County of San Joaquin | 2 | N | PG&E maintains the two meters (Day care and Laundry facilities). Housing units operate electric appliances only
3. WESTLEY | Housing Authority of the County of Stanislaus | 696 Livingston Circle Westley, CA 95387 | 83 | 89 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | Well | HACS Staff licensed by the State of California, monitored by SWRCB | Primary treatment system with an aeration pond. oxidation/settling pond and drying/percolation beds | Grade 1 operator (Scott Greensfelder) licensed by the State of California, monitored by SWRCB | 79 | N | PG&E brings gas into the property directly to the point of connection (POC) at the meter bank on each building. All units are individually metered. The HACS is responsible for all connections/equipment past the utility's POC at the meter banks.
4. PATTERSON | Housing Authority of the County of Stanislaus | 506 Mayette Street Patterson, CA 95363 | 41 | 45 | Turlock Irrigation District (TID) maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | City of Patterson | City of Patterson | Center Maintenance Staff | City of Patterson | Center Maintenance Staff | 40 | N | TID/PG&E brings gas into the property directly to the point of connection (POC) at the meter bank on each building. All units are individually metered. The HACS is responsible for all connections/equipment past the utility's POC at the meter banks.
5. ART OCHOA | EAH, a non-profit housing corp. | 903 Arizona Circle Gilroy, CA 95020 | 100 | 102 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | City of Gilroy | City of Gilroy | Carrera Backflow Specialists services and certifies the backflow annually | City of Gilroy | The City of Gilroy services and certifies the backflow annually | 104 | N | PG&E
6. ARVIN | Housing Authority of the County of Kern | 8701 Sunset Boulevard Bakersfield, CA 93307 | 88 | 2 | PG&E maintains electric service up to the Breaker Panels. Housing Authority/Center Staff maintain the distribution system from there forward, into the units. | Lamont Public Utility | Lamont Public Utility | HACK hires Serda's Plumbing every year to perform testing and certify the backflows | Lamont Public Utility | Lamont Public Utility | 2 | Y | SoCal Gas provides gas and maintains the system up to the meters. HAKC staff maintains the distribution system from there to units.
7. ATWATER/LIVINGSTON | Housing Authority of the County of Merced | 9200 Westside Blvd Atwater, CA 95301 | 59 | 64 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | City of Atwater | Center Maintenance Staff | There is a 20,000 gallon septic tank underground. There are also new leach fields: There are 15 new holes, each with a 32 inch diameter, which are 50 ft deep. Plus they still have the old leach fields to use. | Center staff periodically cleans filters at distribution panel once a month and by Mar 2018, the septic tank will be all cleaned out again, including all of the sludge. | 64 | N | PG&E
8. DAVIS | Yolo County Housing Authority | 31150 Count Road 105 Dixon, CA 95620-9513 | 62 | 37 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | Well | Water well person under contract checks the pumps and the chlorination to ensure proper operation, adding chlorine as needed. The water well contractor has water distribution & disinfectant certifications. Small domestic water lines up to 1 inch are repaired by staff. Water line repairs over 1 inch are contracted out. Back Flow devices are tested on a yearly basis. | 2 lagoons and 2 submersible septic pumps; self-contained, not connected to the city or county | Interior domestic sewer lines are repaired by staff. | 66 | N | Propane is delivered to the center by Viking Propane, who also maintains the propane lines to the units' propane meters. Anything past the meter is maintained by maintenance staff. A certified inspector conducts a propane leak survey every five years, as required by the CPUC.
9. EMPIRE | Housing Authority of the County of Stanislaus | 5132 South Avenue Empire, CA 95319 | 94 | 98 | Modesto Irrigation District (MID) maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | City of Modesto | City of Modesto | Annually, HACS hires a certified contractor to check and certify the backflow device | City of Modesto | City of Modesto and the Housing Authority each maintain their own portion of the sewer system | 93 | N | Gas is brought into the property from PG&E directly to the point of connection (POC) at the meter bank on each building. All units are individually metered. Visual inspection of the equipment is performed at least annually. Any issues are reported directly to the utility company for repair. Similarly, visual inspection is performed annually on all system equipment past the utility's POC and maintenance is performed by HACS staff.
10. FELIX TORRES | Housing Authority of the County of Merced | 925 North Plainsburg Road Planada, CA 95365 | 62 | 75 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | Planada Community Services District (PCSD) | Center Maintenance Staff | Planada Community Services District | Center Maintenance Staff | 74 | N | PG&E
11. FH REHRMAN | Yolo County Housing Authority (or Dixon Housing Authority) | 7290 Radio Station Road Dixon, CA 95620 | 85 | 2 | PG&E provides electrical power to a master meter. Past this master meter all interior high voltage power lines are maintained and seviced by contract vendors hired by the Dixon Housing Authority on an as needed basis. | Well | Well | Water well person under contract checks the pumps and the chlorination to make sure everything working properly; adds chlorine; he has water distribution & disinfectant certifications. Small domestic water line up to 1 inch are repaired by staff. Water lines repairs over 1 inch are contracted out. Back flow devices are tested on a yearly basis | 2 sewer ponds; 35,000 gallon septic tank and 2 submersible sewage pumps for liquids ;self-contained, not connected to the city or county | Interior domestic sewer lines up to septic tank are repaired by staff. Septic tank sewage pumps and sewer line to ponds repairs are contracted out | 1 | Y | PG&E brings gas up to a master meter at the center. Once past this meter all interior gas lines are serviced and maintained by maintenance staff or contract vendor on an as needed basis.
12. HARNEY LANE | Housing Authority of the County of San Joaquin (or Villa Real, inc.) | 14320 East Harney Lane Lodi, CA 95240 | 94 | 184 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | Well | Delta Communities Development Corps. contracts JSWWC Water & WW Mgt to provide monthly water sampling and reporting, and annual backflow testing. | 4 lagoons (3 for sewer and 1 for storm) and 2 submersible septic pumps (in the lift station); self-contained, not connected to the city or county | If required, maintenance is performed by a contracted company | 99 | N | If required, maintenance is performed by PG&E.
13. HOLLISTER | County of San Benito | 3235 Southside Road Hollister, CA 95023 | 67 | 74 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | City of Hollister | City of Hollister | COSB maintains the water lines | City of Hollister | The COSB owns the 2 backflows and hires an independent contractor to come out annually to service, test and certify them. | 72 | N | PG&E owns the infrastructure up to and including the meter. Center staff have responsibility for it into and in the units.
14. KING CITY | Housing Authority of the County of Monterey | 440 Jayne Street King City, CA 93930 | 79 | 60 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | California Water Service Company | California Water Service Company | Vendor hired every five years to inspect and conduct preventative maintenance on the backflows. Vendor then completes and signs off on a backflow report, which is then sent off to the Regional Water Quality Control Board. | City of King City | The maintenance staff maintain the sewer lines on the property. | 29 | N | PG&E owns the infrastructure up to and including the meter. Center staff have responsibility for it into and in the units.
15. RAFAEL SILVA | Yolo County Housing Authority | 18926 West Henry Miller Road Los Banos, CA 93635 | 48 | 52 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | City of Los Banos | Center Maintenance Staff | 3 lagoons and a surface septic pump; self-contained, not connected to the city or county | Center staff cleans septic pump hose every 2-3 weeks, and keeps the ponds clear of weeds and debris | 26 | N | HACM has a contract with Jarsco Gas Utility Contractors to provide annual inspections submit required reports. They also provide staff training every 5 years. Center managers are responsible for routine inspections.
16. MADISON | Yolo County Housing Authority | 29289 State Highway 16 Madison, CA 95653 | 88 | 83 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Madison Community Services District | Madison Community Services District | Small domestic water line up to 1 inch are repaired by staff. Water lines repairs over 1 inch are contracted out | MCSD | N/A | 91 | N | Propane is delivered to the center by Viking Propane, who also maintains the propane lines to the units' propane meters. Anything past the meter is maintained by maintenance staff. A certified inspector conducts a propane leak survey every five years, as required by the CPUC.
17. MERCED | Housing Authority of the County of Merced | 2753 North Santa Fe Avenue Merced, CA 95340 | 50 | 56 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | California American Water (CAW; formerly Meadowbrook Water) | Center Maintenance Staff | 2 lagoons and a submersible septic pump; self-contained, not connected to the city or county | HACM hires someone to check the septic pump monthly | No meters. There are 2-1,000 gallon propane tanks on site and the propane is supplied by Amerigas. | N | HACM has a contract with Jarsco Gas Utility Contractors to provide annual inspections submit required reports. They also provide staff training every 5 years. Center managers are responsible for routine inspections.
18. NEWELL | County of Modoc | 501 Dunsmuir Street Newell, CA 96101 | 53 | 49 | Pacific Power maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Newell County Water District | Newell County Water District | Staff maintenance takes care of the lines inside the center, but up to that point it is the Newell County Water District | Newell Water District | Staff maintains sewer lines inside the center and/or calls in plumbers as needed | No natural gas or propane is used in any of the units | N | N/A
19. PARLIER | Fresno Housing Authority | 8800 South Academy Parlier, CA 93648 | 130 | 53 | Pacific Power maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | City of Parlier | City of Parlier | The water and sewer lines are maintained by the Center's maintenance staff. | City of Parlier | The water and sewer lines are maintained by the Center's maintenance staff. | 52 | N | So Cal Gas maintains the gas lines up to the meter and center staff maintains it from that point on, into the units.
20. POMONA RANCH | Housing Authority of the City of Madera | 11777 Woodward Way Madera, CA 93637 | 50 | 55 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | Well | We contract with a Certified Water Technician - Alberta Holguin, Cert # 01346 - to treat the water and run labs. He submits labs to Fresno County, who mails a copy of the results to Pomona Ranch, Madera County Environmental Health Department (MCEHD) and Albert Holguin. | Septic tank system | Serviced every 3 years by; they go out to bid for it; Sierra Pumping did it last, on 03/2016; Next scheduled for Mar 2019 | 52 | N | PG&E owns the infrastructure up to and including the meter. Center staff have responsibility for it into and in the units.
21. SHAFTER | Housing Authority of the County of Kern | 17213 Central Valley Highway PO Box 638 Shafter, CA 93263 | 88 | 18 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | City of Shafter | Annually, HACK hires Serda's backflow testing to service and certify the backflows at both Arvin and Shafter. | Septic system; (4) tanks total | Tested Bi-annually by a local engineering firm; serviced (cleaned out) every couple of years by a local septic company | 1 | Y | SoCal Gas provides gas and maintains system up to meters. HAKC staff maintains distribution system to units.
22. BUENA VISTA | Housing Authority of the County of Santa Cruz | 113 Tierra Alta Watsonville, CA 95076 | 103 | 155 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | Well | HACSC contracts with a certified water system vendor, Aqualogic, to monitor the well and perform required water testing | Septic system; (4) tanks and 5 lagoons; self-contained, not connected to the city or county | Maintainted, operated and monitored by county of Santa Cruz public works | 77 | N | PG&E provides gas lines into the complex and then to the meters. PG&E is responsible for gas lines up to the meter and then OMS is responsible from the Meter into unit.
23. WILLIAMS | County of Colusa (Department of Agriculture) | 501 Theatre Road Williams, CA 95987 | 100 | 103 | PG&E maintains electric service up to the meters on the buildings. Housing Authority/Center Staff maintain it from there forward, into the units. | Well | City of Williams | Master metered (1 meter only). Center Staff responsible for the lines from the meter to all of the units | City of Williams | They hire a company to come out and service/certify the backflow annually. | 103 | N | PG&E is responsible for the entire gas distribution system. Account # 0405696485-3
24. YUBA CITY | Regional Housing Authority of Sutter and Nevada Counties | 479 Bernard Drive Yuba City, CA 95991 | 78 | 2 | The entire electrical distribution system (all polls / wire / fuses / transformers and all wiring underground and in the buildings), from PG&E's power connection point is the responsibility of OMS and RHASNC. | City of Yuba City | City of Yuba City | HASNC maintenance personnel maintains the water distribution system at the center. | City of Yuba City | They hire a company to come out and service/certify the backflows annually. | 2 | Y | PG&E provides mainline to backflow just inside the OMS center. Center Staff is responsible for all gas lines from that point forward, into the Center.
Note on A3: Administrator: APN: 193-050-18 IS THE APN FOR BOTH PARCELS
Note on A21: Administrator: Jolene Moxen will be replacing Alice effective Tuesday, 11/14/2017.
Note on A28: Administrator: 10/27 - The lady from the CPUC Public Advisor's Office that I spoke with kept insisting that I needed to be more specific as far as the information I wanted concerning whether or not there were any reporting requirements for the utilities and where they could be found (regulations, statute, guidelines, etc.). She asked me to send an email to them, so I did, to publicadvisor@cpuc.ca.gov